## DrawingInfo
Field | Value
Site Name | Wendouree Shopping Centre
Address | Cnr Norman & Gillies St, Wendouree VIC
Drawing Ref | SLD-WDR-202604-R0
Date | 2026-04-23
Prepared By | Peter de Kock
Revision | Original

## Pages
PageNumber | PageName | Description | Amps | Phases | CTRatio | IncomerMeter | IncomerNMI | IncomerRx | BusType | Boundary | Notes
1 | MSB-4 | Main Switchboard 4 | 2500 | 3 | 1500/5 | 219876026 | 620394002 | 300 | split | mixed
2 | MSB-NORTH | MSB NORTH H GM | 1400 | 3 | 1500/5 | 219876016 | 6203854741 | RED022000282 | split | mixed | Busbar is split in trunking / Channel
3 | MSB-2 | HOUSE — Main Switchboard 2 | 2500 | 3 | 1500/5 | 219876035 (EDMI 10A) | 6203673205 | 300 | solid | inside
4 | DB-UNDB 1 | PASSAGE @ CENTRE MANAGEMENT | [6 empty] | solid |  | Distribution board — feeder sub-boards only
5 | DB MSB-4 NORTH | METER ROOM @ CLEANER / COMMS ROOM | 2000 | 3 | 200/5 |  |  |  | solid | inside | Fed from Page 1
6 | TENANCY ISOLATOR | TENANCY ISOLATOR | 250 | 3 |  |  |  |  | solid | inside | Fed from Page 5
7 | UN-DB-2 | Utility Meter DB | [6 empty] | solid | outside
8 | MAIN TENANCY DB @ COLES | Fed from UM DB-2 | 800 | 3 |  |  |  |  | solid | inside | 5 metering panels
9 | MS-B SOUTH | South Main Board |  | 3 | 1500/5 | 219876030 | 6203854744 | 300 | solid | mixed | Plus separate HOUSE SERVICES (200/5) and COLES (2000/5) outside-of-EN feeders

## Circuits
PageNumber | PageName | CBSize_A | Phases | CTRatio | Rx | MeterSerial | NMI | kWh | Fx | ShopNumber | TenantName | Status | MeterType | Boundary | Notes
1 | MSB-4 | TBC | 3 | TBC |  | 219875945 | 6203942229 |  |  |  | SAFETY / ESSENTIAL SERVICES | Active | metered | outside
1 | MSB-4 | 1600 | 3 | 1500/5 |  | 212304145 | 6203938441 |  |  |  | WOOLWORTHS | Active | metered | outside
1 | MSB-4 | 100 | 1 |  | 1 | SAM000001860 |  |  |  | T103 | DUSK AUSTRALIA 120 | Active | metered | inside | 2PH DISC – 1PH METER (under METER PANEL 1)
1 | MSB-4 | 100 | 1 |  | 1 | SAM000001859 |  |  |  | T104 | SPORTS GIRL 120 | Active | metered | inside | 2PH DISC – 1PH METER (under METER PANEL 1)
1 | MSB-4 | 100 | 1 |  | 1 | SAM000018579 |  |  |  | K103 | VIBE HOUSE 211 | Active | metered | inside | 2PH DISC – 1PH METER (under METER PANEL 1)
1 | MSB-4 | 100 | 1 |  | 1 | SAM000018518 |  |  |  | T101 | RAMSAY PAHRMACY 211 | Active | metered | inside | 2PH DISC – 1PH METER (under METER PANEL 1)
1 | MSB-4 | 100 | 1 |  | 1 | SAM000018578 |  |  |  | T106 | TP NAILS 211 | Active | metered | inside | 2PH DISC – 1PH METER (under METER PANEL 1)
1 | MSB-4 | 250 | 3 | [8 empty] | OFF | none | inside | OFF SUPPLY
1 | MSB-4 | 160 | 3 | 200/5 | 40 | SAM000025192 | 7263901873 |  |  | K101 | SUSHI SUSHI | Active | metered | inside
1 | MSB-4 | 160 | 3 | 200/5 | 40 | SAM000025253 | 7263901874 |  |  | T105 | FERGUSON BAKEHOUSE | Active | metered | inside
1 | MSB-4 | 160 | 3 | 200/5 | 40 | SAM000025191 | 7263901872 |  |  | K101A |  | OFF | metered | inside | OFF SUPPLY
1 | MSB-4 | 800 | 3 | 800/5 | 160 | SAM000025252 | 7263901875 |  |  | House Services MSB-4 |  | Active | metered | inside
1 | MSB-4 | 2000 | 3 | [6 empty] | MSB 4 NORTH |  |  |  |  | DB MSB-4 NORTH (TO PAGE 5)
5 | DB MSB-4 NORTH | 400 | 3 | 200/5 | 40 | HSAM000025266 | 7263901917 |  |  | T116 | ROLL'N | Active | metered | inside
5 | DB MSB-4 NORTH | 400 | 3 | [6 empty] | T120 | THE BODY SHOP | Active | none | inside
5 | DB MSB-4 NORTH | 400 | 3 | 200/5 | 40 | HSAM000025269 | 7263901878 |  |  | T117 | PURE BEAUTY & SPA | Active | metered | inside
5 | DB MSB-4 NORTH | 400 | 3 | 200/5 | 40 | HSAM000025194 | 7263901876 |  |  | T119 | WILDSEED CAFÉ | Active | metered | inside
5 | DB MSB-4 NORTH | 400 | 3 | 200/5 | 40 | HSAM000025270 | 7263901877 |  |  | T118 |  | Active | metered | inside | VACANT
5 | DB MSB-4 NORTH | 125 | 3 | 200/5 | 40 | HSAM000025267 | 7263901879 |  |  | T107 | FACTORY X | Active | metered | inside
5 | DB MSB-4 NORTH | 160 | 3 | 200/5 | 40 | HSAM000025268 | 7263901913 |  |  | T122 | MY DENTIST | Active | metered | inside
5 | DB MSB-4 NORTH | 160 | 3 | 200/5 | 40 | HSAM000025193 | 7263901916 |  |  | T121 | H&R BLOCK | Active | metered | inside
5 | DB MSB-4 NORTH | 125 | 3 | 200/5 | 40 | HSAM000025195 | 7263901915 |  |  | K102 | APT UNITED | Active | metered | inside
5 | DB MSB-4 NORTH | 250 | 3 | [11 empty] | TENANCY ISOLATOR (TO PAGE 6)
5 | DB MSB-4 NORTH | 100 | 3 | 200/5 | 40 | HSAM000025251 | 7263901914 |  |  | T108 | LASER CLINICS | Active | metered | inside
6 | TENANCY ISOLATOR | 80 | 3 | [8 empty] | OFF | none | inside | OFF SUPPLY
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000001863 |  |  |  | DB-T109 | BONDS | Active | metered | inside | LIB120
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000001862 |  |  |  | DB-T110 | SKETCHERS | Active | metered | inside | LIB120
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000001861 |  |  |  | DB-T111 | FOREVER NEW | Active | metered | inside | LIB120
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000018567 |  |  |  | DB-T112 | SHAVER SHOP | Active | metered | inside
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000018569 |  |  |  | DB-T113 | ELITE SUPPLEMENTS | Active | metered | inside
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000018570 |  |  |  | DB-T114 | CHARMS SPA | Active | metered | inside
6 | TENANCY ISOLATOR | 63 | 1 |  | 1 | SAM000018568 |  |  |  | DB-T115 | HOME ESSENTIALS | Active | metered | inside
6 | TENANCY ISOLATOR | 32 | 1 |  | 1 | SAM000000955 |  |  |  | DB-STA1 |  | Active | metered | inside
6 | TENANCY ISOLATOR | 32 | 1 |  | 1 | SAM000000956 |  |  |  | DB-STA2 |  | Active | metered | inside
6 | TENANCY ISOLATOR | 32 | 1 |  | 1 | SAM000001955 |  |  |  | DB-STA3 |  | Active | metered | inside
6 | TENANCY ISOLATOR | 32 | 1 |  | 1 | SAM000000958 |  |  |  | DB-STA4 |  | Active | metered | inside
7 | UN-DB-2 |  |  |  |  | AMX001674 |  |  |  | K1 | BOOST JUICE | TO VERIFY | metered | inside | EM1000
7 | UN-DB-2 |  |  |  |  | AMG202343 |  |  |  | K11 | SUNGLASS HUT | TO VERIFY | metered | inside | EM1000
7 | UN-DB-2 |  |  |  |  | AMG201185 |  |  |  | K9 | M KING INVESTMENTS | TO VERIFY | metered | inside
7 | UN-DB-2 |  |  |  | 1 | 216405057 | 6203643593 |  |  | T34 |  | TO VERIFY | metered | inside | VACANT
7 | UN-DB-2 |  |  |  |  | AMG201179 |  |  |  | ST14 |  | TO VERIFY | metered | inside | STOREROOM
7 | UN-DB-2 |  |  |  |  | AMG201188 |  |  |  | T51B | MICHAEL HILL | TO VERIFY | metered | inside
7 | UN-DB-2 |  |  |  |  | AMG201178 |  |  |  | T51A | LOVISA L70 | TO VERIFY | metered | inside
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | 216405058 | 6203740064 |  |  | T4 | GOLDMARK | Active | metered | inside | METER PANEL 1; secondary #ECP032106
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX003198 |  |  |  | T5 | HAIR WAREHOUSE | Active | metered | inside | METER PANEL 1; EM5100
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX006462 |  |  |  | T40 & 41 | EB GAMES | Active | metered | inside | METER PANEL 1
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX015479 |  |  |  | T69 | NATIONAL HEARING | Active | metered | inside | METER PANEL 2
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX002390 |  |  |  | T70 | YES OPTUS | Active | metered | inside | METER PANEL 2
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX003868 |  |  |  | T71 | TELSTRA | Active | metered | inside | METER PANEL 2
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX015488 |  |  |  | T72 | CLEAR SKIN CLINICS | Active | metered | inside | METER PANEL 3
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX008190 |  |  |  | T79 | GLORIA JEAN'S COFFEE | Active | metered | inside | METER PANEL 3
8 | MAIN TENANCY DB @ COLES | 100 | 1 |  | 1 | AMX008471 |  |  |  | T78 | PANDA MASSAGE STUDIO | Active | metered | inside | METER PANEL 3
8 | MAIN TENANCY DB @ COLES | 100 | 1 |  | 1 | AMX001301 |  |  |  | T80 | BEAUTY & BROW PARLOUR | Active | metered | inside | METER PANEL 4
8 | MAIN TENANCY DB @ COLES | 80 | 1 |  | 1 | AMX014317 |  |  |  | T82 | SMOKE MART & GIFTBOX | Active | metered | inside | METER PANEL 4
8 | MAIN TENANCY DB @ COLES | ? |  |  | 1 | AMG201159 |  |  |  | EX-T41 |  | OFF | metered | inside | METER PANEL 5
8 | MAIN TENANCY DB @ COLES | ? |  |  | 1 | AMG202300 |  |  |  | K10 |  | OFF | metered | inside | METER PANEL 5
9 | MS-B SOUTH |  | 3 | 2000/5 | 400 | 219551829 | 6203739064 |  |  |  | COLES | Active | metered | outside | OUTSIDE OF EN
9 | MS-B SOUTH |  | 3 | 200/5 | 40 | 219876027 | 6203739592 |  |  |  | HOUSE SERVICES | Active | metered | outside | OUTSIDE OF EN
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMX003692 |  |  |  | T75 | NEXTRA | Active | metered | inside | MP1
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMX001124 |  |  |  | T76 | SUSHI SUSHI | Active | metered | inside | MP1
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMX015480 |  |  |  | T75A | SPECSAVERS | Active | metered | inside | MP1
9 | MS-B SOUTH | [8 empty] | SOLAR INVETER |  | Active | none | inside | MP2 - solar inverter (unmetered)
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMX003862 |  |  |  | T44 | LA BELLA NAILS | Active | metered | inside | MP2
9 | MS-B SOUTH | 63 | 1 |  | 1 | AMG210490 |  |  |  | K7 | PIMP MY MOBILE | Active | metered | inside | MP2
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMZ000163 |  |  |  | T77 |  | Active | metered | inside | VACANT
9 | MS-B SOUTH | 100 | 1 |  | 1 | AMX004416 |  |  |  | T73 | RAMSAY PHARMACY | Active | metered | inside | MP3
9 | MS-B SOUTH | 63 | 1 |  | 1 | 21407656 |  |  |  | T74A | HOUSE | Active | metered | inside | MP4
9 | MS-B SOUTH | 40 | 1 |  | 1 | AMG201174 |  |  |  | K8 | MISTER MINIT | Active | metered | inside | MP4
9 | MS-B SOUTH | 200 | 3 | 200/5 | 40 | AMO001708 |  |  |  | T46/T45 | LOWES MANHATTAN | Active | metered | inside | MP5
9 | MS-B SOUTH | 200 | 3 | 200/5 | 40 | AMO002040 |  |  |  | T77A | HAIR EDGE | Active | metered | inside | MP5

## SubBoards
PageNumber | PageName | SubBoardName | Amps | Phases | CTRatio | Shops | Notes
1 | MSB-4 | METER PANEL 1 | 250 | 3 |  | T103, T104, K103, T101, T106 | 5 × 100A 1-ph tenancies (DUSK AUS, SPORTS GIRL, VIBE HOUSE, RAMSAY PHARM, TP NAILS)
1 | MSB-4 | OFF (250A spare) | 250 | 3 |  |  | Spare/off sub-board between METER PANEL 1 and SUSHI SUSHI
1 | MSB-4 | MSB-4 NORTH | 2000 | 3 |  | See page 2 | Feeder to MSB-NORTH (page 2)
2 | MSB-NORTH | CFS-1 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-2 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-3 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-4 |  |  |  |  | NOT IN USE
2 | MSB-NORTH | CFS-6 |  |  |  |  | KMART?
2 | MSB-NORTH | CFS-10 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-11 |  |  |  |  | UM SB-2/3
2 | MSB-NORTH | CFS-12 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-16 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-17 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-18 |  |  |  |  | SPARE
2 | MSB-NORTH | CFS-7 |  |  |  |  | OFF
2 | MSB-NORTH | CFS-8 |  |  |  |  | T50, 51, 52, 53, 54, 55, 56, 57, 58, 59, 60
2 | MSB-NORTH | CFS-13 |  |  |  |  | K4, T7, 8, 9, 10, 11, 12
2 | MSB-NORTH | CFS-14 |  |  |  |  | T49, 30, 31, 32A, K5
2 | MSB-NORTH | CFS-20 |  |  |  |  | T33, 34S, 35, 36, 37, 38, 39
2 | MSB-NORTH | CFS-21 |  |  |  |  | T32
2 | MSB-NORTH | CFS-23 |  |  |  |  | K2, K3, T42
3 | MSB-2 | MSB-1 |  |  |  | MECH MCP 1A
3 | MSB-2 | MSB-2 (sub) |  |  |  | MCP 2
3 | MSB-2 | MSB-3 |  |  |  | FOODCOURT A/C
3 | MSB-2 | MSB-4 (CMC) |  |  |  | MCP-3 CENTRE MAGT PLANT ROOM | Distinct from MSB-4 main switchboard on page 1
3 | MSB-2 | MSB-12 |  |  |  | DB-3A / DB-3B ABLOCK SWITCH ROOM
3 | MSB-2 | MSB-13 |  |  |  | PB1 – LETTERBOX PASSAGE
3 | MSB-2 | MSB-14 |  |  |  | CLEANERS ROOM
3 | MSB-2 | MSB-15 |  |  |  | AC – KMART, T70, 71, 72
3 | MSB-2 | MSB-16 |  |  |  | AC, T6, 6A, 7, 8, 9, 10, 11, 12
3 | MSB-2 | MSB-17 |  |  |  | SB-MAIN SWITCH ROOM NORMAN ST
3 | MSB-2 | MSB-18 |  |  |  | SPARE
4 | DB-UNDB 1 | CFS1 |  |  |  | T60 / T23
4 | DB-UNDB 1 | CFS2 |  |  |  | T113, T114, T18, T19, T20, T21, T22, T2?
4 | DB-UNDB 1 | CFS3 |  |  |  | T60A, T61, T62, T63, T24, T24A, T23A
4 | DB-UNDB 1 | CFS4 |  |  |  | T113, T115, T64, T65, T66, T66A, T67, T68
4 | DB-UNDB 1 | CFS5 |  |  |  | K6
4 | DB-UNDB 1 | CFS6 |  |  |  | T27, T28, T29A, T29
5 | DB MSB-4 NORTH | TENANCY ISOLATOR | 250 | 3 |  | See page 6 | Continuation on page 6
8 | MAIN TENANCY DB @ COLES | METER PANEL 1 |  |  |  | T4, T5, T40 | Group of 80A 1-ph tenancy meters
8 | MAIN TENANCY DB @ COLES | METER PANEL 2 |  |  |  | T69, T70, T71 | Group of 80A 1-ph tenancy meters
8 | MAIN TENANCY DB @ COLES | METER PANEL 3 |  |  |  | T72, T78, T79 | Fed from UM DB-2
8 | MAIN TENANCY DB @ COLES | METER PANEL 4 |  |  |  | T80, T82 | 100A & 80A tenancy meters
8 | MAIN TENANCY DB @ COLES | METER PANEL 5 |  |  |  | VACANT / NO METERS — OFF | EX-T41, K10
9 | MS-B SOUTH | MP1 |  |  |  | T75, T76, T75A | 3 × 100A 1-ph tenancy meters
9 | MS-B SOUTH | MP2 |  |  |  | SOLAR INVETER, T44, K7
9 | MS-B SOUTH | MP3 |  |  |  | T77, T73
9 | MS-B SOUTH | MP4 |  |  |  | T74A, K8
9 | MS-B SOUTH | MP5 |  |  |  | T46/T45, T77A | 2 × 200A CT-metered tenancies

## Instructions
SLD Metering Schematic Builder — Import Format
SHEETS: DrawingInfo ¦ Pages ¦ Circuits ¦ SubBoards
CIRCUIT FIELDS:
CBSize_A | Breaker rating e.g. 100, 200, 63 — use "?" if unknown
Phases | 1, 2, or 3
CTRatio | e.g. 200/5 — blank if no CT
Rx | Multiplier e.g. 40, 1, 300
MeterSerial | e.g. SAM000025253
NMI | e.g. 7263901874 (no NMI prefix needed)
kWh | Reading e.g. 2315.7
Fx | Feeder ref e.g. CFS-1
ShopNumber | e.g. T-101, K-103
TenantName | e.g. Woolworths
Status | Active ¦ OFF ¦ VACANT ¦ DISCONNECTED ¦ NO LOAD ¦ SPARE ¦ TO VERIFY
MeterType | metered ¦ none
Boundary | inside ¦ outside
Notes | Free text — e.g. "2PH DISC – 1PH METER", panel grouping, etc.
SUB-BOARD FIELDS:
SubBoardName | e.g. METER PANEL 1, MSB-NORTH, CFS-13
Amps | Sub-board CB rating e.g. 250
Phases | 1, 2 or 3
CTRatio | e.g. 1500/5 if metered
Shops | Comma-separated tenancies fed from this sub-board
Notes | Free text — e.g. "OFF", "see page 2"